## Slide 1
PATo
Particle Analysis and Tomography Interface
20/04/2023

## Slide 2: Introduction
PATo = [single] Particle Analysis and Tomography [visualisation tool]
Set of services (backend and frontend) that display tomography/SPA experiment information
Gets information from ISPyB
Integration with other tools (such as message queues)
https://github.com/DiamondLightSource/pato-frontend/
https://github.com/DiamondLightSource/pato-backend/

## Slide 3: (Some) Supported Features
Traversing through the Z-Axis on a tomogram
Initiating tomogram reprocessing (currently disabled)
  Integration with RabbitMQ
Plots for relative ice thickness, drift, CTF data and more
Motion correction and particle picking information
2D and 3D classification overviews, including 3D renderer for MRC files

## Slide 4: (Some) Supported Features
OIDC/OAuth2 authentication integration
  Authentication can be expanded through modules or disabled
Data caching for faster pagination
Handling of tokens through cookies for extra security and better usability

## Slide 5
Tomogram data page view

## Slide 6
Tomogram movie analysis (traversing through Z axis)

## Slide 7
3D visualisation of MRC file in SPA

## Slide 8: Planned Features
3D visualisation for subsections of tomograms
  On-demand streaming of tomogram data for large files in the future
Integration with Jupyter Notebook
Reprocessing for single particle analysis (already exists in another service inside Diamond)
*Planned features may be altered or outright dropped in the future

## Slide 9: Technology Stack
Frontend
  React
  Chakra/Personalised component library
  Jest for unit testing
Backend/Authorisation Module
  Python (FastAPI, SQLAlchemy 2.0)
  ISPyB
  Pytest for integration testing

## Slide 10: Performance
Load all page components on tomogram page (including high-res images)
  2.5 seconds (n=10, σ=0.28, no caching)
RAM usage
  SPA (2912 motion correction records): 90 MB
    With 3D classification renderer: 181 MB
  Tomogram (39 motion correction records): 22 MB
    With movie viewer: 26 MB

## Slide 11: Current Implementation (SPA Pipeline)
Zocalo wrapper running on Hamilton orchestrating workflow
Wrapper sends processing results to ISPyB via Zocalo ISPyB service
Current weaknesses:
  Failure of the wrapper leads to failure of the pipeline
  Wrapper needs to run for entire data collection (multiple days)
Future developments:
  Separate processing steps into services
  This has been implemented for the simpler tomography pipeline offered at eBIC

## Slide 12: Current Implementation (Tomography Pipeline)
All processing steps separated into Zocalo services running on DLS on-prem Kubernetes cluster
Micrographs collected at various tilt angles
Tilt angles are known approximately
Tilt series, composed of motion corrected micrographs at various angles, are aligned and a tomogram is formed
Services for motion correction, CTF estimation and tomogram reconstruction
Processing triggered on ingress of data to DLS file system from microscope systems

## Slide 15
https://github.com/DiamondLightSource/python-murfey